## Sheet1
14.4MWp Solar plant Debari Udaipur- SLD
PV area (800Volt DC) | SMB (800V DC) | Inverte- 1 DC switch (800Volt DC) | IGBT (AC to DC) | Inverter AC switch (380V AC) | [6 empty] | HT panel-01(11 KV)
IDT-1 380V/11KV (2.2MVA)
PV area (800Volt DC) | SMB (800V DC) | Inverter-2 DC switch (800Volt DC) | IGBT (AC to DC) | Inverter AC switch (380V AC)
[9 empty] | Auxillary X'mer 380V/415V (50KVA) |  | HT panel outgoing (11 KV) | H-pole 11KV transmission line
ACDB(415V)
PV area (800Volt DC) | SMB (800V DC) | Inverter-3 DC switch (800Volt DC) | IGBT (AC to DC) | Inverter AC switch (380V AC)
[7 empty] | UPSDB (230V AC) |  | Battery Bank 415V | LDB
[6 empty] | SCADA panel (230V AC) |  | WMS (230V AC)
IDT-2 380V/11KV (2.2MVA)
PV area (800Volt DC) | SMB (800V DC) | Inverter-4 DC switch (800Volt DC) | IGBT (AC to DC) | Inverter AC switch 380V AC | [6 empty] | HT panel-02(11 KV)